## Admin Ofc
Bldg 001
Admin Office
| ~ Interior SQFT = | 260
| ~ Interior Average Wall Height in inches = | 113
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Wall Bracket | Multipurpose Dry Chemical w/ Wall Mount
Interior | Provide and Install New Carpet w/ Rubber Base | Walk-Off Mat @ Door 7' x 10'
Interior | Paint | Walls + Trim + Ceiling + Doors
Interior | Ceiling Tiles Reattached and Painted
Exterior | Provide & Install Provide & Install Room Signage | Confirm Naming of Rooms - Match Existing

## Admin Clst
Bldg 001
Admin Closet
| ~Interior SQFT = | 49
| ~Interior Average Wall Height in inches = | 96
Int/Ext | Repair Type | Comments
Interior | Provide & Install New Carpet w/ Rubber Base
Interior | Paint | Walls + Trim + Ceiling (Hard Lid) + Doors
Interior | Casework Painted

## Nurse
Bldg 001
Nurse Office & Restroom
| ~ Interior Vinyl Floor SQFT = | 240
| ~ Interior Average Wall Height in inches = | 124
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Wall Bracket | Multipurpose Dry Chemical w/ Wall Mount
Interior | Provide & Install New Vinyl Floor Tile | Tarkett Silverbell Sheet Vinyl. (Spec will be provided w/ Final Addendum)
Interior | Paint | Walls + Trim + Ceiling + Doors
Interior | T-Bar Ceiling Acoustical Tiles | 1 Tile Replaced, Rest Put in Place Up & Painted
Interior | Casework Painted
Interior | Casework Repaired | Adjust Doors
Interior | Rest Room - New Vinyl Floor | Replace with New Vinyl: Tarkett Silverbell Sheet Vinyl

## Principal
Bldg 001
Principal Office
| ~Interior SQFT = | 184
| ~Interior Average Wall Height in inches = | 153
Principal Bathroom
| ~Interior SQFT = 28 | 28
| ~Interior Wall Height in inches = | 153
Int/Ext | Repair Type | Comments
Interior | Provide & Install New Carpet w/ Rubber Base | Walk-Off Mat @ Door, 5' x 5'
Interior | Paint | Walls + Trim + Case Work + Ceiling Tiles + Door
Interior | Ceiling Tiles: Replace (2), Secure Remaining & Paint | Replace 2, Secure Remaining & Paint
Interior | Casework Painted
Interior | Restroom - Paint | Walls + Trim + Ceiling + Door
Cassie Stopped Here

## Break Galley
Bldg 001
Admin - Break/Galley Kitchen
| ~Interior SQFT = | 80
| ~Interior Average Wall Height in inches = | 99
124
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Bracket | Multipurpose Dry Chemical w/ Wall Mount
Interior | Provide & Install New Carpet w/ Rubber Base | Walk-Off Mat @ Door 5' x 5'
Interior | Paint | Walls + Trim + Door + Ceiling Tiles
Interior | Reattach loose ceiling tiles
Interior | All Casework Demo'd
Interior | 3 x 5 Wood Mail Cubbie removed from wall and installed on an Admin Wall, location TBD
Interior | Patch and Paint walls behind removed cabinets
Interior | Cut & Cap Sewer and Water Line
Interior | Remove Hand Soap and Paper Towel Dispensers from Wall | Save to see if needed elsewhere
Interior | Door Repair
Interior | Signage (Qty 1) | Match Existing

## Kitchen Ofc
Bldg 002
MPR Kitchen Office/Storage
| ~Interior SQFT = | 80
| ~Interior Average Wall Height in inches = | 99
Int/Ext | Repair Type | Comments
Interior | Provide & Install New Carpet w/ Rubber Base
Interior | Paint | Walls + Trim + Door + Ceiling (Hard Lid)
Interior | Casework Painted
Interior | Casework Repaired | Door Adjustments Needed on cabinets outside of Office/Storage Room

## MPR Kitchen
Bldg 002
MPR Kitchen
| ~ Interior SQFT = | 500
| ~Interior Average Wall Height in inches = | 108
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Bracket | Kitchen Grade FE (Spec will be provided w/ Final Addendum)
Interior | Provide & Install Vinyl Floor | Tarkett Silverbell Sheet Vinyl (Spec will be provided with final Addendum)
Interior | Paint | Walls + Trim + Ceiling Tiles + Door
Interior | Ceiling Tiles | Replace (2) , Secure as needed & Paint
Interior | Casework Painted
Interior | Casework Repaired | Tighten Handles
Interior | Casework Reattached | Cabinet Door
Interior | Casework Removed | Remove Metal Cabinet Over the Sink

## MPR Storage
Bldg 002
MPR Storage
| ~Interior SQFT = | 200
| ~Interior Average Wall Height in inches = | 114
Int/Ext | Repair Type | Comments
Interior | Paint | Walls + Trim + Door + Ceiling (Hard Lid)
Interior | Casework Painted

## MPR CR
Bldg 002
| MPR - Classroom | (East of Stage)
| ~Interior SQFT = | 486
| ~Interior Average Wall Height in inches = | 110
Int/Ext | Repair Type | Comments
Interior | Provide & Install Fire Extinguisher | Multipurpose Dry Chemical w/ Wall Mount
Interior | Paint | Walls + Trim + Door
Interior | Provide & Install Carpet & Rubber Base | Interior Door, no Walk-Off Mat Needed
Interior | Provide & Install Room Signage | One Sign - Match Existing

## MPR Breakroom
Bldg 002
MPR - Breakroom
| ~Interior SQFT = | 280
| ~Interior Average Wall Height in inches = | 110
Int/Ext | Repair Type | Comments
Interior | Provide & Install Fire Extinguisher | Multipurpose Dry Chemical w/ Wall Mount
Interior | Paint | Walls + Trim + Doors
Interior | Provide & Install Carpet & Rubber Base | Walk-off Mat at Door, 5 x 5
Exterior | Door Repair | Door Closure Repair

## MPR
Bldg 002
MPR
| Interior SQFT = | 2480
| Stage SQFT = (In addition to main floor) | 1200
| ~Interior Average Wall Height in inches = | 240
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Bracket | Multipurpose Dry Chemical w/ Wall Mount
Interior | Provide and Install New Carpet w/ Rubber Base (NOT ON MAIN FLOOR. Stage Only) | Stage + Stairs next to Stage - 6 Steps
Interior | 4x4 Tile Squares to be Removed by Stage Steps, Leave as Concrete (NIC) | Will be removed by HAZMAT/Demo
Interior | Paint (Main Area + Stage) | Walls + Trim + Ceiling + Doors
Interior | Ceiling (Main Area) - Smooth Texture & Paint | Ceiling Tiles and Mastic will be removed by HAZMAT Contractor (NIC)
Interior | Casework Painted (Stage)
Interior | Stage Elevator | Confirm Operational, repair as needed. (Testing and any needed repairs will be tracked on T&M under Owner Allowance)
Interior | Ice Machine | Cut and Cap Water Lines Previously used for Ice Machine

## Assmt Sht CR02
Bldg 001
CR 02
| ~Interior SQFT = | 930
| ~Interior Average Wall Height in inches = | 148
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Bracket | Multipurpose Dry Chemical w/ Wall Mount
Interior | Provide and Install New Carpet w/ Rubber Base | Walk-Off Mat @ Door 5' x 5'
Interior | Ceiling Acoustical Tiles Secured
Interior | Casework Painted
Exterior | Provide & Install Room Signage | One New Sign - Match Existing - Match Existing
Exterior | Paint
Interior | Paint | Walls + Trim + Ceiling Tiles + Doors

## Assmt Sht CR03
Bldg 001
CR 03
| ~Interior SQFT = | 930
| ~Interior Average Wall Height in inches = | 148
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Bracket | Multipurpose Dry Chemical w/ Wall Mount
Interior | Provide and Install New Carpet w/ Rubber Base | Walk-Off Mat @ Door 5' x 5'
Interior | Paint | Walls + Trim + Ceiling + Doors
Interior | Ceiling Acoustical Tiles | Replace 2, Secure as needed
Interior | Casework Painted
Exterior | Provide & Install Room Signage | One New Sign - Match Existing

## Assmt Sht CR04
Bldg 001
CR 04
| ~Interior SQFT = | 930
| ~Interior Average Wall Height in inches = | 148
Storage Room in CR 04
| ~Interior SQFT = | 50
| ~Interior Average Wall Height in inches = | 102
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Bracket | Multipurpose Dry Chemical w/ Wall Mount
Interior | Provide and Install New Carpet w/ Rubber Base | Walk-Off Mat @ Door 5' x 5'
Interior | Paint | Walls + Trim + Ceiling Tiles + Doors
Interior | Ceiling Acoustical Tiles | Re-Attach as Needed
Interior | Casework Painted
Interior | Storage Room Paint | Walls + Ceiling (Hard Lid)
Exterior | Provide & Install Room Signage | One New Sign - Match Existing

## Assmt Sht CR05
Bldg 004
CR 05 (Set-up as a Library)
| ~Interior SQFT = | 930
| ~Interior Average Wall Height in inches = | 148
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Bracket | Multipurpose Dry Chemical w/ Wall Mount
Interior | Provide and Install New Carpet w/ Rubber Base | Walk-Off Mat @ Door 5' x 5'
Interior | Paint | Walls + Trim + Ceiling Tiles + Doors (Not Casework)
Interior | Ceiling Tiles | Replace 10, Secure as needed & Paint
Exterior | Provide & Install Room Signage | One New Sign - Match Existing

## Assmt Sht CR06
Bldg 004
CR 06 (Library)
| ~Interior SQFT = | 930
| ~Interior Average Wall Height in inches = | 148
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Bracket | Multipurpose Dry Chemical w/ Wall Mount
Exterior | Provide & Install Room Signage | One New Sign - Match Existing
Interior | Provide and Install New Carpet w/ Rubber Base | Walk-Off Mat @ Door 5' x 5'
Interior | Paint | Walls + Trim (Not Tackable Surface and Not Ceiling Tiles) + Doors

## Assmt Sht CR07
Bldg 004
CR 07
| ~Interior SQFT = | 930
| ~Interior Average Wall Height in inches = | 148
Int/Ext | Repair Type | Comments
Exterior | Provide & Install Room Signage | One New Sign - Match Existing
Interior | Provide and Install New Carpet w/ Rubber Base | Walk-Off Mat @ Door 5' x 5'
Interior | Paint | Walls + Trim (Not Tackable Surface and Not Ceiling Tiles) + Doors
Interior | Provide and Install Fire Extinguisher w/ Bracket | Multipurpose Dry Chemical w/ Wall Mount

## Assmt Sht CR08
Bldg 004
CR 08
| ~Interior SQFT = | 930
| ~Interior Average Wall Height in inches = | 148
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Bracket | Multipurpose Dry Chemical w/ Wall Mount
Interior | Provide and Install New Carpet w/ Rubber Base | Walk-Off Mat @ Door 5' x 5'
Interior | Paint | Walls + Trim (Not Tackable Surface and Not Ceiling Tiles) + Doors
Interior | Ceiling Tiles | Secure Tiles as Needed
Exterior | Door Repair | 1 Door - Weather Strip Replaced
Exterior | Provide & Install Room Signage | One New Sign - Match Existing

## Assmt Sht CR09
Bldg 005
CR 09
| ~Interior SQFT = | 930
| ~Interior Average Wall Height in inches = | 148
Int/Ext | Repair Type | Comments
Interior | Paint | Walls + Trim + Ceiling Tiles + Doors
Interior | Ceiling Tiles | 5 Replaced, Secure as Needed
Interior | Casework Painted | (Currently Not Painted)
Exterior | Provide & Install Room Signage | One New Sign - Match Existing
Interior | Provide and Install Fire Extinguisher w/ Bracket | Multipurpose Dry Chemical w/ Wall Mount

## Assmt Sht CR10
Bldg 005
CR 10
| ~Interior SQFT = | 930
| ~Interior Average Wall Height in inches = | 148
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Bracket | Multipurpose Dry Chemical w/ Wall Mount
Interior | Provide and Install New Carpet w/ Rubber Base | Walk-Off Mat @ Door 5' x 5'
Interior | Paint | Walls + Trim + Ceiling Tiles + Doors
Interior | Ceiling Tiles | Secure as Needed
Interior | Casework Painted
Interior | Casework Repaired
Exterior | Door Repair | North side door needs to be repaired
Exterior | Provide & Install Room Signage | One New Sign - Match Existing

## Assmt Sht CR11
Bldg 005
CR 11
| ~Interior SQFT = | 930
| ~Interior Average Wall Height in inches = | 148
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Bracket | Multipurpose Dry Chemical w/ Wall Mount
Interior | Provide and Install New Carpet w/ Rubber Base | Walk-Off Mat @ Door 5' x 5'
Interior | Paint | Walls + Trim + Ceiling Tiles + Doors
Interior | Ceiling Tiles Re-Attach as Needed
Interior | Casework Painted
Exterior | Provide & Install Room Signage | One New Sign - Match Existing

## Assmt Sht CR12
Bldg 005
CR 12
| ~Interior SQFT = | 930
| ~Interior Average Wall Height in inches = | 148
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Bracket | Multipurpose Dry Chemical w/ Wall Mount
Interior | Provide and Install New Carpet w/ Rubber Base | Walk-Off Mat @ Door 5' x 5'
Interior | Paint | Walls + Trim + Ceiling Tiles + Doors
Interior | Ceiling Tiles | 1 Replace = Re-Attach as Needed
Interior | Casework Painted
Exterior | Provide & Install Room Signage | One New Sign - Match Existing

## Assmt Sht CR13-B1
Bldg P09
CR 13 - B1
| ~Interior SQFT = | 870
| ~Interior Average Wall Height in inches = | 101
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Bracket | Multipurpose Dry Chemical w/ Wall Mount
Interior | Provide and Install New Carpet w/ Rubber Base | Walk-Off Mat @ Door 5' x 5'
Interior | Paint | Walls + Trim + Doors
Interior | Install New Blinds | Replace (4)
Exterior | Dry Rot | Dry Rot on Roof Soffit 2'x4' Area
Exterior | Provide & Install Room Signage | One New Sign - Match Existing
Exterior | Ramps/Stairs Repaired | Replace Plywood on (2) Ramps
Interior | White Board | To Be added By M&O (NIC)

## Assmt Sht CR14
Bldg P01
CR 14
| ~Interior SQFT = | 960
| ~Interior Average Wall Height in inches = | 122
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Bracket | Multipurpose Dry Chemical w/ Wall Mount
Interior | Provide and Install New Carpet w/ Rubber Base | Walk-Off Mat @ Door 5' x 5'
Interior | Paint | Walls + Trim + Ceiling Tiles + Doors
Interior | Interior Electrical Panel Repair Work | Panel Used as the Light Switch for Room - Provide and Install New Light Switch and New Panel Door
Interior | Ceiling Tiles | Replace 1, Secure as Needed
Interior | Demo Restroom | Remove walls, ceiling & fixtures. Cut & Cap all lines. Patch-back walls. Remove Exhaust Fan and Light Fixture, and paint with rest of room. (FA device will be relocated in Technology Project. NIC)
Interior | Casework Painted
Interior | Casework Repaired | Handles
Exterior | Dry Rot | NE Corner Trim Replacement
Exterior | Provide & Install Room Signage | One New Sign - Match Existing

## Assmt Sht CR15
Bldg P01
CR 15
| ~Interior SQFT = | 960
| ~Interior Average Wall Height in inches = | 122
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Bracket | Multipurpose Dry Chemical w/ Wall Mount
Interior | Provide and Install New Carpet w/ Rubber Base | Walk-Off Mat @ Door 5' x 5'
Interior | Paint | Walls + Trim + New Ceiling + Doors
Interior | Ceiling Tiles & Light Fixtures will already be removed by HAZMAT Contractor. (NIC)
Interior | Provide & Install New T-Bar Grid & 2x4 Acoustical Tiles
Interior | Provide & Install New 2x4 LED Light Fixtures into new T-Bar grid. Quantity of 12 Fixtures
Interior | Provide & Install Insulation above Ceiling Tile
Interior | FA Devices currently on ceiling will be relocated by separate Technology Project (NIC)
Interior | Floor Dry Rot | Replace 4 sheets of 4x8 floor plywood
Interior | Demo Restroom | Remove walls, ceiling & fixtures. Cut & Cap all lines. Patch-back walls. Remove Exhaust Fan and Light Fixture, and paint with rest of room. (FA device will be relocated in Technology Project. NIC)
Interior | Casework Painted
Interior | Casework Repaired | Repair Countertops (See Photo)
Interior | Roof Substrate Repair | (See Photo)
Exterior | Wall Dry Rot | Dry Rot at Side of Window, Replace Rotted Roof Sheeting (See Photo)
Exterior | Open Electrical Conduit with Exposed Wires | Remove and Cap (See Photo)
Exterior | Provide & Install Room Signage | One New Sign - Match Existing

## Assmt Sht CR16
Bldg P01
CR 16
| ~Interior SQFT = | 960
| ~Interior Average Wall Height in inches = | 122
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Bracket | Multipurpose Dry Chemical w/ Wall Mount
Interior | Provide and Install New Carpet w/ Rubber Base | Walk-Off Mat @ Door 5' x 5'
Interior | Paint | Walls + Trim + Ceiling + Doors
Interior | Ceiling Tiles & Light Fixtures will already be removed by HAZMAT Contractor. (NIC)
Interior | Provide & Install New T-Bar Grid & 2x4 Acoustical Tiles
Interior | Provide & Install New 2x4 LED Light Fixtures into new T-Bar grid. Quantity of 12 Fixtures
Interior | Provide & Install Insulation above Ceiling Tile
Interior | FA Devices currently on ceiling will be relocated by separate Technology Project (NIC)
Interior | Casework Painted
Exterior | Provide & Install Room Signage | One New Sign - Match Existing

## Assmt Sht CR17
Bldg P01
CR 17
| ~Interior SQFT = | 960
| ~Interior Average Wall Height in inches = | 122
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Bracket | Multipurpose Dry Chemical w/ Wall Mount
Interior | Provide and Install New Carpet w/ Rubber Base | Walk-Off Mat @ Door 5' x 5'
Interior | Paint | Walls + Trim + Ceiling + Doors
Interior | Casework Painted
Interior | Casework Repaired | Edge of Countertop
Exterior | Door Replacement | 2 Wood Doors Replaced with District Specified Metal Doors. (Door Hardware OFOI NIC)
Exterior | Provide & Install Room Signage | One New Sign - Match Existing

## Assmt Sht CR18
Bldg P02
CR 18
| ~Interior SQFT = | 784
| ~Interior Average Wall Height in inches = | 122
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Bracket | Multipurpose Dry Chemical w/ Wall Mount
Interior | Provide and Install New Carpet w/ Rubber Base | Walk-Off Mat @ Door 5' x 5'
Interior | Paint | Walls + Trim + Ceiling + Doors
Interior | Ceiling Tiles | Re-Attached as Needed
Interior | Casework Painted
Interior | Casework Repaired | 2 Handles Needed
Interior | Drapes | Remove
Exterior | Provide & Install Room Signage | One New Sign - Match Existing

## Assmt Sht CR19
Bldg P02
CR 19
| ~Interior SQFT = | 784
| ~Interior Average Wall Height in inches = | 122
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Bracket | Multipurpose Dry Chemical w/ Wall Mount
Interior | Provide and Install New Carpet w/ Rubber Base | Walk-Off Mat @ Door 5' x 5'
Interior | Paint | Walls + Trim + Ceiling + Doors
Interior | Ceiling Tiles | Replace 4 + Secure As Needed
Interior | Casework Painted
Interior | Casework Repaired | Replace Missing Handle
Interior | Drapes | Remove
Exterior | Dry Rot | 10' x 10' Area + Mod Seam Facia
Exterior | Provide & Install Room Signage | One New Sign - Match Existing

## Assmt Sht CR20
Bldg P03
CR 20
| ~Interior SQFT = | 900
| ~Interior Average Wall Height in inches = | 122
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Bracket | Multipurpose Dry Chemical w/ Wall Mount
Interior | Provide and Install New Carpet w/ Rubber Base | Walk-Off Mat @ Door 5' x 5'
Interior | Paint | Walls + Trim + Doors
Interior | Ceiling Acoustical 2 x 4 Tiles | Replace All Ceiling Tiles
Exterior | Provide & Install Room Signage | One New Sign - Match Existing

## Assmt Sht CR21
Bldg P03
CR 21
| ~Interior SQFT = | 900
| ~Interior Average Wall Height in inches = | 122
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Bracket | Multipurpose Dry Chemical w/ Wall Mount
Interior | Provide and Install New Carpet w/ Rubber Base | Walk-Off Mat @ Door 5' x 5'
Interior | Paint | Walls + Trim + Doors
Interior | Ceiling Acoustical 2 x 4 Tiles | Replace All Ceiling Tiles
Exterior | Door Replaced | 1 Door Replaced with District Specified Metal Door. (Door Hardware OFOI NIC)
Exterior | Provide & Install Room Signage | One New Sign - Match Existing
Exterior | Remove Trees From Between Portables

## Assmt Sht CR22
Bldg P05
CR 22
| ~Interior SQFT = | 960
| ~Interior Average Wall Height in inches = | 96
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Bracket | Multipurpose Dry Chemical w/ Wall Mount
Interior | Provide and Install New Carpet w/ Rubber Base | Walk-Off Mat @ Door 5' x 5'
Interior | Paint | Walls + Trim + Doors
Interior | Ceiling Acoustical 2 x 4 Tiles | Replace 1 Tile
Interior | Shelving Painted | 18' x 6' of shelving (Not casework)
Interior | Shelving Reattached | 18' x 6
Exterior | Door Replaced | 1 Door Replaced with District Specified Metal Door. (Door Hardware OFOI NIC)
Exterior | Wall Dry Rot | Hole Above Door, infill (See Photo)
Exterior | Electrical Repair | Install Cap on Electrical Conduit (See Photo)
Exterior | Provide & Install Room Signage | One New Sign - Match Existing
Exterior | Ramps/Stairs Repaired | Replace Plywood at Front & Back Doors (See Photos)
Exterior | Add Exterior LED Light at Back of Classroom | Match Other RABs on Campus - Spec to be provided for RAB Fixture

## Assmt Sht CR23
Bldg P06
CR 23
| ~Interior SQFT = | 960
| ~Interior Average Wall Height in inches = | 96
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Bracket | Multipurpose Dry Chemical w/ Wall Mount
Interior | Provide and Install New Carpet w/ Rubber Base | Walk-Off Mat @ Door 5' x 5'
Interior | Paint | Walls + Trim + Doors
Interior | Ceiling Acoustical 2 x 4 Tiles | Remove and Replace all 2 x 4 Tiles
Interior | Floor Dry Rot | Southwest corner (See Photo)
Interior | Casework Painted | 6'x6' case work
Interior | Casework Reattached | 6'x6' case work
Interior | Interior of Classroom has suffered extensive water damage from roof being torn off in a storm. The HAZMAT Contractor will remove all tackable surfaces, white boards, drywall and any other associated dry rot or damaged material down to studs, prior to work under this Project | HAZMAT Contractor will be asked to save cabinets for reinstall under this contract
Interior | Water Damage Repair under this contract: Provide and Install New Acoustical Ceiling Tiles, 2 x 4 LED Light Fixtures (Qty 12), above T-Bar Insulation, Drywall & Tackable Surfaces & Reinstall Existing Cabinet. (~ 24' of cabinets)
Exterior | Door Replaced | 1 Door Replaced with District Specified Metal Door. (Door Hardware OFOI NIC)
Exterior | Wall Dry Rot | Dry Rot at SW Trim & Corner (See Photo)
Exterior | Provide & Install Room Signage | One New Sign - Match Existing
Exterior | Ramps/Stairs Repaired | Plywood Replaced on (1) ramp and (1) stairs (See Photo)

## Assmt Sht CR24
Bldg P07
CR 24
| `Interior SQFT = | 600
| ~Interior Average Wall Height in inches = | 96
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Bracket | Multipurpose Dry Chemical w/ Wall Mount
Interior | Provide and Install New Carpet w/ Rubber Base | Walk-Off Mat @ Door 5' x 5'
Interior | Paint | Walls + Trim + Doors
Interior | Modular Seam Trim Reattached - 30'
Exterior | Door Replaced | 1 Door Replaced with District Specified Metal Door. (Door Hardware OFOI NIC)
Exterior | Wall Dry Rot | See Notes for Bldg P07 on CR 26

## Assmt Sht CR25
Bldg P07
CR 25
| `Interior SQFT = | 600
| ~Interior Average Wall Height in inches = | 96
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Bracket | Multipurpose Dry Chemical w/ Wall Mount
Interior | Provide and Install New Carpet w/ Rubber Base | Walk-Off Mat @ Door 5' x 5'
Interior | Paint | Walls + Trim + Doors
Exterior | Wall Dry Rot | See Notes for Bldg P07 on CR 26

## Assmt Sht CR26
Bldg P07
CR 26
| `Interior SQFT = | 600
| ~Interior Average Wall Height in inches = | 96
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Bracket | Multipurpose Dry Chemical w/ Wall Mount
Interior | Provide and Install New Carpet w/ Rubber Base | Walk-Off Mat @ Door 5' x 5'
Interior | Paint | Walls + Trim + Doors
Interior | Light Fixtures Repaired | Add 2 x 4 lenses (10 Fixtures)
Exterior | Wall Dry Rot | Remove & Replace Siding: West Side 100 SQ FT. East Side 60 SQFT at bottom. South Side 120 SQFT. 45 SQFT at top. Remove & Replace S/W corner Trim.

## Assmt Sht CR27
Bldg P08
CR 27
| ~Interior SQFT = | 960
| ~Interior Average Wall Height in inches = | 96
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Bracket | Multipurpose Dry Chemical w/ Wall Mount
Interior | Provide and Install New Carpet w/ Rubber Base | Walk-Off Mat @ Door 5' x 5'
Interior | Paint | Walls + Trim + Doors
Interior | Reattach Mod Seam Trim
Exterior | Wall Dry Rot | Remove and Replace Skirting: East Side 12 SQFT. South Side 60 SQFT. Remove and Replace Trim: South East Corner
Interior | Ceiling Treated and Painted | Asbestos Tiles Removed By HAZMAT Contractor (NIC)

## Assmt Sht CR28
Bldg P08
CR 28
| ~Interior SQFT = | 960
| ~Interior Average Wall Height in inches = | 96
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Bracket | Multipurpose Dry Chemical w/ Wall Mount
Interior | Provide and Install New Carpet w/ Rubber Base | Walk-Off Mat @ Door 5' x 5'
Interior | Paint | Walls + Trim + Doors
Interior | Reattach Mod Seam Trim
Exterior | Wall Dry Rot | Remove & Replace NW Corner Trim. Remove & Replace 60 SQFT of Skirt Siding with 2 Vents.
Exterior | Provide & Install Room Signage | One New Sign - Match Existing

## Assmt Sht CR33
(No Bldg #)
CR 33
| ~Interior SQFT = | 960
| ~Interior Average Wall Height in inches = | 96
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Bracket | Multipurpose Dry Chemical w/ Wall Mount
Interior | Tackable Surface | Remove and Replace 8x8 Section
Interior | Provide and Install New Carpet w/ Rubber Base | Walk-Off Mat @ Door 5' x 5'
Interior | Paint | Walls + Trim + Doors
Interior | Electrical Outlet Repair | Repair - Falling off Wall
Interior | Ceiling Acoustical 2 x 4 Tiles | Remove and Replace all Tiles
Exterior | Door Replaced | 1 Door Replaced with District Specified Metal Door. (Door Hardware OFOI - NIC)
Exterior | Wall Dry Rot | Remove and Replace: South Side 300 SQFT & East Side 60 SQFT
Exterior | Provide & Install Room Signage | One New Sign - Match Existing

## Assmt Sht CRK1
Bldg 006
CR K1
| ~Interior SQFT = | 900
| ~Interior Average Wall Height in inches = | 147
Rest Room
| ~Interior SQFT = | 45
| ~Interior Wall Height = | 120
Int/Ext | Repair Type | Comments
Interior | Paint | Walls + Trim + Ceiling + Doors
Interior | Ceiling Tiles | Replace 1- Re-Attach as Needed
Interior | New Restroom Vinyl Flooring | Tarkett Silverbell Sheet Vinyl. (Spec will be provided w/ Final Addendum)
Interior | Casework Painted
Exterior | Door Repair | Weather strip needed (2) doors
Exterior | Provide & Install Room Signage | One New Sign - Match Existing
Exterior | Paint

## Assmt Sht T-K (PreSchool)
Bldg P10
Preschool
| ~Interior Carpet SQFT = | 1215
| ~Interior Vinyl SQFT = | 705
| ~Interior Average Wall Height in inches = | 96
Int/Ext | Repair Type | Comments
Interior | Provide and Install Fire Extinguisher w/ Bracket | Multipurpose Dry Chemical w/ Wall Mount
Interior | Provide and Install New Carpet w/ Rubber Base | Walk-Off Mat @ (3) Doors, Each 5' x 5'
Interior | Provide and Install New Sheet Vinyl in both Restrooms & IT Server Room | Tarkett Silverbell Sheet Vinyl. (Spec will be provided w/ Final Addendum)
Interior | Paint | Walls + Trim + Doors + Doors
Interior | Ceiling Acoustical 2 x 4 Tiles | Replace (20) Ceiling Tiles
Exterior | Wall Dry Rot | Remove & Replace: Entire East Side Paneling & Trim: 341 SQFT. Remove & Replace: South Side 204 SQFT. Remove & Replace: West Side 32 SQFT. Remove & Replace: Skirting Entire Building ~240 SQFT.
Exterior | Ramps/Stairs Repaired | Replace Plywood.
Exterior | Remove Wood Pergola Slats on North Side
Exterior | Remove Porch Fencing on North Side & Replace with Ornamental Fence | ~80' Long x 32" High
Exterior | Remove Trees from Between Portables

## Portable Restroom-Boys
Portable Restroom - Boys & Girls
Not Shown on Site Plan
| ~ Exterior Bldg SQFT = | 600
| ~Interior Average Wall Height in inches = | 120
Int/Ext | Repair Type | Comments
Interior - Boys | Provide & Install Flooring Substrate - Assumed Plywood | Removal of Substrate (NIC)
Interior - Boys | Provide & Provide & Install Vinyl Flooring | Tarkett Silverbell Sheet Vinyl. (Spec will be provided w/ Final Addendum)
Interior - Boys | Provide & Install FRP | Replace (1) 4x8 FRP Section
Interior - Boys | Provide & Install New Partitions | Removal of Partitions (NIC)
Interior - Boys | Provide & Install New Ceiling Tiles | Removal of Ceiling Tiles (NIC)
Interior - Boys | Paint Ceiling Grid | Paint Grid
Exterior - Girls | Exterior Door - Remove, Provide & Install New Metal Door
Interior - Girls | Provide & Install New Ceiling Tiles | Removal of Ceiling Tiles (NIC)
Interior - Girls | Paint Ceiling Grid | Paint Ceiling Grid
Interior - Girls | Provide & Provide & Install Vinyl Flooring | Tarkett Silverbell Sheet Vinyl. (Spec will be provided w/ Final Addendum)
Interior - Girls | Provide & Install New Partitions | Removal of Partitions (NIC)
Exterior - All | Paint

## Perm Restrooms
Permanent Restrooms (4)
Repair Type | Comments
Paint | Walls (Including Tiles) + Ceiling (Hard Lids) Color TBD
Deep Clean

## Exterior
Miscellaneous Exterior
Item | Repair Type | Comments
1 | Tetherball Refresh (East) - Qty of 3 | Provide & Install new Ball and Tether
2 | Tetherball Refresh (West) - Qty of 4 | Provide & Install new Ball and Tether
3 | Volleyball Poles - Qty or 3 | Remove & Provide and Install New Poles
4 | Basketball Backboards and Hoops Replaced - Qty of 4 | Poles to Remain, Provide & Install new Backboards, Hoops & Nets
5 | Pressure Wash | Complete Exterior of all Buildings including the brick
6 | Paint entire exterior of campus buildings including canopies and poles, excluding brink exterior
7 | All Play Areas - Qty of 3 | Remove Existing Bark - Provide & Install New Park
8 | Site signage needed (Example: ADA Parking) | Scope TBD - Covered by Owner Allowance
9 | Items to Demo & Remove | Free standing structures in Pre-School Yard + West Asphalt Area
10 | Vinyl Privacy Slates added at Kinder Playground existing 5' high chain-link fence | ~100 LF of Privacy slates only
11 | Remove Existing Drinking Fountain & Install OFCI Bottle Filler, Qty of 1, on South side of Portable Restroom Bldg and Qty of 1, on South side of P10 Pre-School Bldg. | Provide Pick-up of Units from District Location.Please See Next Page for Bottle Filler Specs.
12 | Paint Ornamental Fence Black ~ 650 LF